## Sheet1
Functional Test Case Template
Test Case ID | Feature | Test Scenario | Test Steps | Expected Result | Actual Result | Status | Comments
TC_001 | Heart Rate Monitoring | Verify real-time heart rate capture | 1. Power on the device 2. Place finger on sensor 3. Monitor reading | Device displays heart rate within 2 seconds | Successful | Tested | Working as expected
TC_002 | SpO2 Monitoring | Validate SpO2 value display | 1. Power on device 2. Place finger on sensor 3. Check SpO2 value | SpO2 displayed in expected range (90–100%) | Successful | Tested | Working as expected
TC_003 | HRV Analysis | Ensure HRV data is calculated | 1. Place finger on sensor 2. Allow continuous reading 3. Trigger HRV calculation | HRV data appears after sufficient samples | Successful | Tested | Output verified
TC_004 | Sweat Monitoring | Verify sweat levels via GSR sensor | 1. Power on device 2. Place finger on GSR sensor 3. Monitor sweat response | Sweat response is within expected range based on GSR data | Successful | Tested | Validated sweat detection
TC_005 | ML Prediction | Validate model predicts anomaly | 1. Simulate abnormal vitals 2. Let model process input | Model predicts “At Risk” and triggers alert logic | Successful | Tested | ML inference validated
TC_006 | Alert System | Test alert on anomaly detection | 1. Trigger abnormal reading 2. Wait for system response | Audio/Visual alert is triggered within 5 sec | Not Implemented | Roadmap | Alert system in development
TC_007 | UI Display | Check vital signs on screen/app | 1. Open app/interface 2. Connect device 3. View live data | Data updates every second correctly | Not Implemented | Pending | UI design pending
TC_008 | Bluetooth Connectivity | Test Bluetooth data sync | 1. Power on both device and phone 2. Pair via Bluetooth | Device connects and transmits health data | Not Implemented | Pending | BLE stack not integrated